## RENTAL.Tool
SMART AIR UK - AIR PURIFIER CALCULATOR FOR RENTALS
Use this calculator to work out how many air purifiers you need for your event and what speed you need to run it at. Generally, a total of 5-6 air changes an hour (ACH) are recommended for rooms but where there are lots of attendees, the clean air delivery rates (CADR) should be calculated by how many litres of air per second, per person. The recommened units will be based on the higher CADR of the two.
[9 empty] | CADR on settings 1-2-3 (low-med-high) |  |  | Noise on settings 1-2-3 (low-med-high) |  |  | Purifier price without VAT
Please adust the YELLOW HIGHLIGHTED cells to tailor this quote | [7 empty] | Air purifiers | 1 CADR | 2 CADR | 3 CADR | 1 Noise | 2 Noise | 3 Noise | Weekly | Monthly | Deposit
[8 empty] | Blast HEPA purifier | 450 | 680 | 950 | 29 | 37 | 43 | 170 | 462.5 | 350
STEP 1 | HOW BIG IS YOUR ROOM? | [6 empty] | Blast Mini HEPA purifier | 340 | 450 | 740 | 36 | 43 | 49 | 115 | 305 | 220
| Select units of preference (metres or feet): | metres | 👈 |  |  |  |  | SA600 | 130 | 245 | 470 | 23 | 39 | 52 | 75 | 185 | 95
| Enter the dimension of your room (length and width): | 150 | 👈 | square metres |  |  |  | Sqair HEPA purifier | 65 | 180 | 315 | 23 | 43 | 52 | 0 | 0 | 0
| Enter the ceiling height: | 4 | 👈 | metres
STEP 2 | HOW MUCH OUTDOOR AIR VENTILATION DOES YOUR ROOM ALREADY HAVE?
| Good ventilation | 3 | ACH | Newer buildings 'should' achieve this
| Typical | 1.5 | ACH | Average - choose this if you are not sure
| Low ventilation | 1 | ACH | Poor ventilation | [6 empty] | CADR
| Select how much ventilation you think you have: | Typical | 👈 | [5 empty] | Occupancy | L/S/Person | L/S | M3/hr
[9 empty] | 1 | 10 | 10 | 36
STEP 3 | WHAT AIR PURIFIER CADR RATING DO I NEED FOR MY ROOM? | [7 empty] | 3 | 10 | 30 | 108
| ℹ This formula will work out the clean air delivery rate (CADR) you need based on room dimensions | [7 empty] | 5 | 10 | 50 | 180
| Total required Air Changes per Hour (ACH) | 5 | 👈 | No of times per air the air is cleaned. 5-6 is recommended for schools |  |  |  |  | 10 | 10 | 100 | 360
| Air changes from outdoor air (taken from Step 2) | 1.5 | [6 empty] | 15 | 10 | 150 | 540
| Balance air changes from a portable air purifier | 3.5 | [6 empty] | 23 | 10 | 230 | 828
[9 empty] | 25 | 10 | 250 | 900
STEP 4 | HOW MANY PEOPLE ARE YOU EXPECTING AT YOUR EVENT | [7 empty] | 30 | 10 | 300 | 1080
| ℹ This formula will work out the clean air delivery rate (CADR) you need per person (in l/s/p and m3/hr) | [7 empty] | 35 | 11 | 385 | 1386
| Select how many people you think will attend: | 100 | 👈 | 15 | Litres/second/person (recommended) |  |  |  | 40 | 12 | 480 | 1728
[11 empty] | 0 | 0
[9 empty] | 45 | 13 | 585 | 2106
RESULTS | THE NUMBER OF UNITS YOU WILL NEED AND THE SPEED SETTING TO ACHIEVE THE REQUIRED CADR | [7 empty] | 50 | 14 | 700 | 2520
|  |  |  | Speed / Noise |  |  |  |  | 100 | 15 | 1500 | 5400
| Based on ROOM DIMENSIONS, your event needs a CADR of: | 2100 | m3/hr | HIGH | 👈 | It is generally recommended to select the CADR based on the higher figure. Do adjust the ACH in step 3 and the spped/noise to achieve a cost you are happy with. Some clean air in your event is better than none :)
| Column1 | Qty | Weekly | Noise levels | Total CADR
| Blast HEPA purifier (deposit per unit = £350) | 3 | 510 | 43 dB | 2850 m3/hr |  |  |  | SETTING 1 (LOW) | [5 empty] | SETTING 2 (MEDIUM) | [6 empty] | SETTING 3 (HIGH)
| Blast Mini HEPA purifier (deposit per unit = £220) | 3 | 345 | 49 dB | 2220 m3/hr |  |  |  | No of units | Total noise | Weekly | Monthly | Total CADR |  |  | No of units | Total noise | Cost inc VAT | Monthly | Total CADR |  |  | No of units | Total noise | Cost inc VAT | Monthly | Total CADR
| SA600 (deposit per unit = £95) | 5 | 375 | 52 dB | 2350 m3/hr |  | Blast HEPA purifier | 4.6667 | 5 | 29 dB | 850 | 2312.5 | 2250 m3/hr |  | 3.0882 | 4 | 37 dB | 680 | 1850 | 2720 m3/hr |  | 2.2105 | 3 | 43 dB | 510 | 1387.5 | 2850 m3/hr
|  |  |  | Speed / Noise |  |  | Blast Mini HEPA purifier | 6.1765 | 7 | 36 dB | 805 | 2135 | 2380 m3/hr |  | 4.6667 | 5 | 43 dB | 575 | 1525 | 2250 m3/hr |  | 2.8378 | 3 | 49 dB | 345 | 915 | 2220 m3/hr
| Based on ATTENDEE LEVELS, your event needs a CADR of: | 5400 | m3/hr | HIGH | 👈 |  |  | SA600 | 16.1538 | 17 | 23 dB | 1275 | 3145 | 2210 m3/hr |  | 8.5714 | 9 | 39 dB | 675 | 1665 | 2205 m3/hr |  | 4.4681 | 5 | 52 dB | 375 | 925 | 2350 m3/hr
| Column1 | Qty | Weekly | Noise levels | Total CADR
| Blast HEPA purifier (deposit per unit = £350) | 6 | 1020 | 43 dB | 5700 m3/hr |  |  |  | SETTING 1 (LOW) | [5 empty] | SETTING 2 (MEDIUM) | [6 empty] | SETTING 3 (HIGH)
| Blast Mini HEPA purifier (deposit per unit = £220) | 8 | 920 | 49 dB | 5920 m3/hr |  |  |  | No of units | Total noise | Weekly | Monthly | Total CADR |  |  | No of units | Total noise | Cost inc VAT | Monthly | Total CADR |  |  | No of units | Total noise | Cost inc VAT | Monthly | Total CADR
| SA600 (deposit per unit = £95) | 12 | 900 | 52 dB | 5640 m3/hr |  | Blast HEPA purifier | 12 | 12 | 29 dB | 2040 | 5550 | 5400 m3/hr |  | 7.9412 | 8 | 37 dB | 1360 | 3700 | 5440 m3/hr |  | 5.6842 | 6 | 43 dB | 1020 | 2775 | 5700 m3/hr
[7 empty] | Blast Mini HEPA purifier | 12 | 12 | 36 dB | 1380 | 3660 | 4080 m3/hr |  | 12 | 12 | 43 dB | 1380 | 3660 | 5400 m3/hr |  | 7.2973 | 8 | 49 dB | 920 | 2440 | 5920 m3/hr
[8 empty] | SA600 | 12 | 12 | 23 dB | 900 | 2220 | 1560 m3/hr |  | 22.0408 | 23 | 39 dB | 1725 | 4255 | 5635 m3/hr |  | 11.4894 | 12 | 52 dB | 900 | 2220 | 5640 m3/hr
Notes
This calculator can't mix and match purifiers so you may have way more clean air than you need - but who can have too much clean air!!
Running the air purifiers on lower speeds will impact how many units you need
Sources & References:
This tool is based on the Harvard-CU Boulder Portable Air Cleaner Calculator for Schools